## Sheet1
key | message | note
p01Dashboard | The Dashboard, showing all data racks in all data centers, is the default view when you log in.
p01SysHealthDashbd | When you select a rack, Peregrine displays its System Health dashboard by default. | There's a global dashboard and a system health dashboard….confusing
p01SysHealthDashbdSummary | Each rack's System Health dashboard displays an overall summary of the health of the rack. | Troubleshooting: check Disk Safety, Health, Storage Utilization.
p01SysHealthDashbdDiskSafety | Disk safety is the number of disks in a spread width that can be simultaneously unavailable without data loss. | Troubleshooting: what should user do if Disk Safety is lower than expected, i.e. not green?
p01SysHealthDashbdHealth | The Health panel displays a color coded icon for overall health of the system compute nodes, storage nodes, and network. | What is "compute" node? Controller node? Scaler node? Troubleshooting: if the overall status is not "OK", do TBD.
p01SysHealthDashbdStorageUtil | The Storage Utilization panel displays how much of this rack's storage capacity is in use. | Troubleshooting: TBD.
p01SysHealthDashbdBandwidth | The Bandwidth panel displays this rack's overall throughput. | Troubleshooting: TBD.
p01SysHealthDashbdLatency | The Latency panel displays this rack's overall delay due to RAM access. | Troubleshooting: TBD.
p01SysHealthDashbdOPS | The OPS panel displays this rack's overall operations per second. | Troubleshooting: TBD.
p01SysHealthResources | A resource is any physical component of the system. Click any component in the rack image to see its usage and inventory status.
p01SysHealthResourcesMap | The Resource Map displays the geolocation of the racks in the selected system. | Troubleshooting: what should user do if a rack is not visible?
p01SysHealthResourcesUsage | This panel displays a bar showing the percentage of disk capacity used.
p01SysHealthResourcesSummary | Default view is of Controller Node 01 (CN1)
p01SysHealthResourcesSummaryIPs | The IP addresses shown here belong to the component highlighted in the rack diagram.
p01SysHealthResourcesInventory | This panel displays the inventory associated with the component highlighted in the rack diagram.
p01SysHealthResourcesSummaryFanSpeed | The fan speed is displayed in rotations per minute (rpm). | Troubleshooting: TBD.
p01SysHealthResourcesSummarySystemName | The system name is the name of this component in the Active Archive database (model).
p01SysHealthResourcesInventoryJBODSLED | Note: depending on your system, not all SLEDs may be populated.
p01SysHealthResourcesInventoryJBODDisk | Any drives highlighted may need attention. Troubleshooting: click a highlighted drive, and click a non-highlighted drive. Then click Compare Drives. You can compare up to 15 drives at a time.
p01SysHealthResourcesInventoryJBODDiskCompare | The Compare action displays drive analytics for the drives you have selected. Compare the analytics on both drives to determine the problem.
p01SysHealthPerformance | The Performance tab contains time series performance graphs.
p01SysHealthPerformanceStorage | The Storage panel displays the number of writes, averaged across all Controller Nodes and Storage Nodes, in a time series (left graph), and in chronological logs (right). | Troubleshooting: click any alert indicator to see details.
p01SysHealthPerformanceCompute | The Compute panel displays the CPU utilization, averaged across all Controller Nodes and Storage Nodes, in a time series (left graph), and in chronological logs (right). Troubleshooting: click any alert indicator to see details.
p01SysHealthPerformanceNetwork | The Network panel displays the number of KB received, averaged across all Controller Nodes and Storage Nodes, in a time series (left graph), and in chronological logs (right). Troubleshooting: click any alert indicator to see details.
p01SysHealthPerformanceStorageIssues | This panel displays a chronological log of all storage issues encountered within the chosen dates.
p01SysHealthPerformanceComputeIssues | This panel displays a chronological log of all compute issues encountered within the chosen dates.
p01SysHealthPerformanceNetworkIssues | This panel displays a chronological log of all network issues encountered within the chosen dates.
p01SysHealthCorrEvents | The Correlated Events tab features a chart with bars for various correlations. Click any bar to get detailed time series correlation data along with issues and suggestions. | what should user be looking for? What do these graphs mean? i.e. what is the significance of the correlation of #reads to #transmits? Or #(reads and writes) to #transmits? too many repairs? too much object verification?
p01SysHealthAlerts | Alerts are events with a severity level of CRITICAL that are raised by the system. | ask Gopi/Anshuman
p01SysHealthAlertsFilter | Type a string in this box to display only alerts containing the given string.
p01SysHealthAlertsMarkAs | By marking an alert as Read or Archive, you hide it from view.
p01SysHealthAlertsStatus | Select a filter from this drop down list to display only certain alerts.
p01SysHealthAlertsResults | p01SysHealthAlertsResults
p01SysHealthHardwareChanges | This panel displays any hardware changes that occurred within the specified time frame. To change the time frame, select specific dates in the calendar widget in the submenu bar, or select a predefined time frame (1 Week, 1 Month, 1 Year).
p01StorageUtil | Check this menu to see that the disk usage is balanced throughout the system.
p01StorageUtilUsageAnalysisOperations | The Operations panel displays a time series of GET and PUT response time.
p01StorageUtilUsageAnalysisTopUsers | The Top Users panel displays top users in terms of the number of GETs and/or PUTs. | is it number of GETs/PUTs or size of GETs/PUTs?
p01StorageUtilUsageAnalysisThroughput | The Throughput panel displays a time series of throughput statistics for the rack.
p01StorageUtilCapacityPlanner | Click Customize Forecast to display an editable Forecast chart at the bottom of this panel. In the Forecast chart, drag any point in the Series line up or down to create a custom usage pattern.
p01StorageUtilForecast | The Forecast predicts storage utilization in upcoming months (light grey) based on this rack's historical data (dark grey). If the prediction is close to the threshold (red line; by default, indicates 80% capacity), increase your system's capacity soon. | You can adjust the red threshold line up or down.
p01LogAnalytics | Type a keyword in the search box to show logs with content that matches.
p01LogAnalyticsLogTimeline | Dots represent a timestamp for each log file available. To narrow down to a certain time range, click a dot in the timeline.
p01LogAnalyticsLogDetails | Click a log type to see its log entries. Type a keyword in the search box to narrow down the entries to only those with content that matches.
p01OpReports | Operational Reports displays any reports available within the specified time frame. To change the time frame, select specific dates in the calendar widget in the submenu bar, or select a predefined time frame (1 Week, 1 Month, 1 Year).
p01OpReportsTopUsers | This panel displays the users with the highest number of PUTs and GETs for the specified time frame. Click a column to sort in ascending/descending order. | Shows super admins and admins
p01OpReportsTopFiles | This panel displays the biggest files sent/received in the specified time frame. Click a column to sort in ascending/descending order.
p01OpReportsErasureCodingOverhead | This graph shows available capacity versus storage overhead as percentages of the raw capacity.
p01OpReportsFileSize | This graph shows the distribution of file sizes in the system.
p01OpReportsQueries | Query the operational reports using natural language. For example, "What should we worry about in the next few weeks?"
p01ManageAccountsProfile | Update your email address or password. You cannot change your role.
p01ManageAccountsProfileEmailAddr | Type your email address.
p01ManageAccountsProfileUsername | Your username was set by the Super Admin when your account was created. It cannot be changed.
p01ManageAccountsProfileChangePassword | Follow the instructions in the popup to change your password; then click Change.
p01ManageAccountsProfileUpdateProfile | To apply any changes you made to your email address or password, click Update Profile.
p01ManageAccountsManageAccounts | The Manage Accounts tab lists all Peregrine users.
p01ManageAccountsAddUser | Create a new user.
p01ManageAccountsSearchUser | To find a specific user, type the first few characters of their username or email address in the search box.
p01ManageAccountsUsername | Username can contain only [a-z,A-Z,0-9,-,_].
p01ManageAccountsPersona | Personas define what is visible on Peregrine. Valid values are Admin (everything is visible), OEM (limited visibility), or Customer (limited visibility). | Persona: Admin is the HGST admin. They see everything. OEM is like HDS.
p01ManageAccountsAccount | The Account value is typically the serial number of the first rack in the first data center.
p01ManageAccountsRole | Roles define the privilege level. Valid values are Super Admin (can create Admin accounts) and Admin. | Super Admin (creates Admin), and Admin
p01ManageAccountsEmail | Email address.
p01ManageAccountsSerialNumber | Serial Number is the unique ID that Peregrine generates automatically for each user.
p01ManageAccountsAction | Available actions are edit, delete, enable/disable.
p01LogSearchHelp | You can search the Linux error logs by typing a keyword in this text box.
p01LogSearchSyntax | Type a customer ID, node name, Linux error, device name, and so on. For example, "warning A0010 SN01", "warning md2 EXT4-fs", "warn_slowpath_common". Press Enter for suggestions. Type "¦" for OR. Press Enter twice to start the search.
p01LogSearchTroubleshooting | Note: Error severity level comes from the Linux kernel / SCSI driver. Peregrine correlates this with the EasiScale event log. A successful search displays the number of results (matches) per day in a bar chart. | Troubleshooting: (1) Narrow the search results to pinpoint the time a problem first appeared: Double click a bar on the chart to see the number of results (matches) per hour. (2) Add filters from the right panel, or additional search terms. (3) Click "Expand" to see the details of a particular error message. | Log search shows Linux errors. How does user know what Linux errors they should be vigilant about searching for? How does user save favorite searches? p.s. on my computer, I have to press Enter twice otherwise nothing happens.
p01LogSearchRecommendedTerms | Recommended search terms: warning, critical, fatal,failover. | I want to search EasiScale logs, not Linux logs. How? Are these error messages deduped? Or is there a GUI option to dedupe them?